## Slide 1: Statistical Evaluation of Measurement Data and Errors
M.V. Iordache, EEGR2051 Circuits and Measurements Lab, Fall 2020, LeTourneau University
See https://mviordache.name/EEGR2051 for more information.

## Slide 2: Probability Distribution
In statistics, probability is a number between 0 and 1 indicating the likelihood of the occurrence of a random event.
The probability that a random variable is less or equal than a number is called probability distribution function.
Let be the probability distribution function.
If , then the probability of cannot exceed the probability of , that is, .
We conclude that is a monotonically increasing function.
Notes: distrib.fig
y = 1./(1+exp(-0.8*(t-1)));
plot(t,y)
axis off; print -color -SYSIZE 500 distrib-0.fig

## Slide 3: Probability Density
The derivative of the probability distribution function is the probability density function.
Since is monotonically increasing, .
The area under the curve of equals .
Notes: density.fig
a = -0.8;
y = 1./(1+exp(a*(t-1))); y = y.*y; y = -a*y.*exp(a*(t-1));
plot(t,y)
axis off; print -color -SYSIZE 500 density-0.fig

## Slide 4: The Mean
The expected value of a random variable is
The expected value of is also known as the mean of .
If the graph of is symmetric with respect to the vertical line going through , that is, for all , then the mean of is .
Notes: density2.fig

## Slide 5: The Standard Deviation
Let be the mean of .
The variance is the expected value of the square of the deviation of from its mean .
The standard deviation is .
The standard deviation is a measure of the dispersion of the random variable about its mean.

## Slide 6: The Standard Deviation
The standard deviation is a measure of the dispersion of the random variable about its mean.
The figure shows the probability density functions of two random variables and .
Let and be the standard deviations of and .
It is clear that because the values of are more spread out.
Notes: density3.fig
a = -0.8; b = 1; y = 1./(1+exp(a*(t-b))); y = y.*y; y = -a*y.*exp(a*(t-b)); plot(t,y); hold on;
a = -0.4; b = -2; y = 1./(1+exp(a*(t-b))); y = y.*y; y = -a*y.*exp(a*(t-b)); plot(t,y,'r'); hold on;
axis off; print -color -SYSIZE 500 density3-0.fig

## Slide 7: The Normal Distribution
Measurement errors often have distributions that are approximately normal.
A normal distribution (also known as Gaussian distribution) has the probability density function
where is the mean and the standard deviation.
The probability that deviates no more than from its mean is , where is the error function.
Notes: normal.fig
m = 1.5; s = 1; t = -6:0.02:6; y = 1/(sqrt(2*pi)*s)*exp(-(t-m).^2/(2*s^2)); plot(t,y, 'b', (m-3*s)*[1 1], [0 1.2*max(y)], 'r--', (m+3*s)*[1 1], [0 1.2*max(y)], 'r--');
axis off; print -color -SYSIZE 500 normal-0.fig

## Slide 8: The Normal Distribution
The probability that deviates by no more than from its mean is
  50% when . Note that is known as the probable error.
  68.27% when .
  95.45% when . (Note that , that is, odds.)
  99.73% when . (Note that , that is, odds.)
  Can be calculated with the formula , where is the error function.
  The error function is implemented in math software (such as MATLAB) and advanced calculators.
Notes: normal.fig
m = 1.5; s = 1; t = -6:0.02:6; y = 1/(sqrt(2*pi)*s)*exp(-(t-m).^2/(2*s^2)); plot(t,y, 'b', (m-3*s)*[1 1], [0 1.2*max(y)], 'r--', (m+3*s)*[1 1], [0 1.2*max(y)], 'r--');
axis off; print -color -SYSIZE 500 normal-0.fig

## Slide 9: Estimating Mean and Standard Deviation
Given samples of a random variable :
The mean of can be estimated as the sample mean:
The standard deviation can be estimated with the formula:

## Slide 10: Example 1
Five measurements of a DC voltage are . Estimate the voltage and the standard deviation of the measurement error.
The mean of the five samples is . This is the estimate of .
The standard deviation is
.

## Slide 11: Example 2
Five measurements of a DC voltage are . Estimate the voltage and the standard deviation of the measurement error.
The estimate of is .
The standard deviation is
.
Comparing Example 1 and Example 2:
While the mean is the same, the standard deviation is smaller in Example 2.
This is because the samples are not as spread out as in the first example.
The standard deviation measures the spread of the data about the mean value.

## Slide 12: Accuracy and Precision
The relation between the precision and accuracy, as illustrated in Wikipedia. https://en.wikipedia.org/wiki/Accuracy_and_precision
The precision of a measurement system specifies the degree to which repeated measurements show the same results.
Precision is related to the standard deviation.
Accuracy corresponds to the difference between the true value and the measured value.
Measurement errors often have distributions that are approximately normal.
Assuming a normal distribution, the probability that deviates by no more than from its mean is 73%.
  This means that virtually all samples of will be in the interval .

## Slide 13: Example 3
Two series resistors have the values and . Find the uncertainty of the total resistance in ohms.
, that is, .
, that is, .
The total resistance is , that is, .
Thus, . The uncertainty is .

## Slide 14: Example 4
A resistor in series with a should result in a resistance of with an uncertainty of no more than . What is the maximum permissible uncertainty of ?
Let , that is, .
Let , that is, .
Note that , that is, .
Note that when numbers are subtracted, their uncertainties are added.
Thus, . The maximum uncertainty is .

## Slide 15: Example 5
A quantity can be measured with the uncertainty . Assuming measurements of , determine the uncertainty of the mean of the measurements.
Let be the measured values.
Let be the true value of .
Note that , , , .
Substituting in the equation ,
It may be surprising to see that the uncertainty of the mean is not smaller.
This is because we found the worst-case uncertainty, not the likely uncertainty.

## Slide 16: The Kline-McClintock Formula
The likely uncertainty can be found with the Kline-McClintock formula.
Let be a variable that can be calculated based on the measurements of other variables .
Let be the equation used to find , where is a function.
Let , , , be the uncertainties of the measurements of .
The uncertainty of is found with the equation

## Slide 17: The Kline-McClintock Formula
The uncertainty of is found with the equation
Note that denotes the derivative of with respect to .
If , , , have the same odds, then the uncertainty of has the odds of , , , .

## Slide 18: Example 6
A quantity can be measured with the 20/1 odds uncertainty . Assuming measurements of , determine the 20/1 odds uncertainty of the mean.
Let be the measured values.
The mean is calculated with the equation
Note that , where
The derivatives are

## Slide 19: Example 6 (continued)
We conclude that the mean has the 20/1 odds uncertainty where

## Slide 20: Example 7
Assume two blocks of mass and . Assuming 40/1 odds uncertainties, find the 40/1 odds uncertainty of the total mass.
Note that the uncertainties of and are and , where and .
The total mass is .
Note that , where .
The derivatives are and .

## Slide 21: Example 7 (continued)
Substituting and ,
Note that the is considerably smaller than .

## Slide 22: Example 8
A resistance is determined as the ratio of a voltage and a current, both with 20/1 odds uncertainties. Find and its 20/1 odds uncertainty.
The voltage and the current have the uncertainties and .
The resistance is calculated with the formula .
Note that , where .
The derivatives are and .

## Slide 23: Example 8 (continued)
Substituting and ,
Since , we obtain .

## Slide 24: Example 9
A resistance is determined as the ratio of a voltage and a current, where the uncertainty of the voltage has 400/1 odds and the uncertainty of the current 20/1 odds. Find and its 400/1 odds uncertainty. Assume normal distributions.
This example could be solved the same way as the previous example once we find the 400/1 uncertainty of the current.
Let be the 20/1 odds uncertainty of the current.
Note that 20/1 odds correspond to a probability of 20/21.

## Slide 25: Example 9 (continued)
Let be the 400/1 uncertainty of the current.
As shown in the previous example,