## Slide 1: Frequency-Domain Measurements
M.V. Iordache, EEGR2051 Circuits and Measurements Lab, Fall 2020, LeTourneau University
See https://mviordache.name/EEGR2051 for more information.

## Slide 2: Fourier Series
Any periodic signal of frequency can be represented as a sum of sinusoidal terms of frequency
where:
is the DC component of .
is the fundamental component of .
For all , is the harmonic of order .

## Slide 3: Fourier Series
Harmonics can be measured with a spectrum analyzer.
Many digital oscilloscopes include an FFT option allowing to measure the harmonics of a signal.
Rohde-Schwarz spectrum analyzer. Image from wikipedia.org.

## Slide 4: Fourier Series
Let be the period of .
Harmonics can be calculated with the equations
where

## Slide 5: Example
The period of the shown waveform is
.
The angular frequency of the fundamental is therefore,
.
It can be shown that

## Slide 6: Example (continued)
Since
  The average of is .
  The fundamental of has the amplitude .
  The second harmonic of has the amplitude .
  The third harmonic of has the amplitude .

## Slide 7: Example (continued)
The more harmonics are included, the better the approximation!
Notes: fig/fseries.png

## Slide 8: Logarithmic Scale
The values of should be read for .
Without question, the values of cannot be found precisely by looking at this graph.
The figure shows the graph of versus in blue.

## Slide 9: Logarithmic Scale
Now the -axis shows clearly where and where .
However, the value of at cannot be read precisely; all we can tell is that it is close to zero.
This is because the maximum and minimum values of differ by orders of magnitude.
With a logarithmic scale on , the graph shows versus and labels the -axis in terms of the values of (not in terms of .)

## Slide 10: Logarithmic Scale
With a logarithm on the -axis, the low values of are now clearly seen.
Note that a voltage in volts can be converted to decibels with the formula:
For example, if rms, then , where the suffix of indicates that is in volts.
The plot in the figure shows in decibels versus , with logarithmic scale on the -axis.
20
30
9
40

## Slide 11: Example
For ,
.
For ,
.
For ,
.
For ,
.
For ,
.
The vertical gridlines help us read values that are not powers of 10.
20
30
9
40

## Slide 12: FFT
Each signal can be decomposed into a sum of sines.
The Fast Fourier Transform (FFT) algorithm provides a way to determine the sines contained into a signal.
The FFT is applied to successive samples of a signal .
Let be the time interval between two samples.
The sampling frequency is .
The FFT produces complex numbers , for .
Samples shown in blue
Notes: samples.png from samples.m

## Slide 13: Example
The figure shows with and .
samples are taken over a time interval of .
The sampling period is .
The sampling frequency is .
Samples shown in blue
Notes: samples.png from samples.m

## Slide 14: FFT
The graph vs for reveals the frequency spectrum of .
The horizontal position of the peaks corresponds to the frequencies of the sines that make up .
In our example, the FFT graph indicates that consists of a sine of about and a sine of about .
The uncertainty is .
The actual signal is
with and .
By using a large enough number of samples , measurements can be made very precise!
Notes: spectr.png from samples.m

## Slide 15: FFT
By using a large enough number of samples , measurements can be made very precise!
Notes: spectr.png and spectr2.png from samples.m

## Slide 16: FFT
Even with a large number of samples, a small spectral component located close to a large component might not be visible.
To address this issue, the samples could be multiplied with the weights of a windowing function.
  This reduces the base of the peaks, making it narrower.
Windowing functions available on lab oscilloscopes include:
  Rectangular
  Flat-top
  Hamming
  Blackman-Harris
The rectangular window has all weights equal to one.
  It does not change the samples (it is as if no windowing function were used).

## Slide 17: Example
The graph shows the FFT plot of a signal consisting of three sines.
Plots are usually scaled so that the vertical axis is in rms volts or dBV.
Note the zero level.
The vertical scale is in dB.
The zero level is 3 divisions above the middle of the screen.
With , the middle of the screen is at , that is, at .
The rightmost peak is at below the zero level.
This indicates a sine of , that is, rms.
Notes: spectr.png

## Slide 18: Example (continued)
Similarly, the value of the center peak is , that is, , corresponding to rms.
On the horizontal axis, the graph has at the center.
The graph has a span of .
Since the span has , we have .
So the center peak is at .
The right peak is at .
The left peak is at .
Notes: spectr.png

## Slide 19: Example (continued)
We conclude that the graph shows a signal consisting of a sine of , a sine of , and a sine of .
The amplitudes of the sines can be calculated from the graph.
The graph does not say anything about the phase angles of the sines.
Notes: spectr.png