## Slide 1: AC Power—Part 3
Apparent Power, Power Factor, and Power Factor Correction
M.V. Iordache, EEGR2053 Electric Circuits, Spring 2020, LeTourneau University

## Slide 2: Power—Review
Let and .
The instantaneous power is the power at time .
The absorbed instantaneous power is:
The apparent power is measured in (Volt-Amperes) and has the formula:
The average of is the average power:
The power factor is .
When specifying the power factor, we indicate whether the current is lagging or leading the voltage .
Notes: cfig/elem.fig

## Slide 3: Power—Physical Meaning
Let and .
The instantaneous power can also be written as:
is the average of .
is the amplitude of .
Notes: cfig/pt2.fig

## Slide 4: Power—Physical Meaning
When , energy is transferred from the source to the load.
When , energy is transferred backwards, from the load to the source.
On the average, energy is transferred from the source to the load at the rate .
Practical systems cannot transfer energy without losses.
A system in which energy keeps going back and forth between the source and the load is wasteful!
Notes: cfig/pt2.fig

## Slide 5: Power—Physical Meaning
A given average power can be delivered at any non-zero power factor.
The lower the power factor, the bigger the amplitude of .
A big amplitude of indicates a big current.
Transmission losses are proportional to the square of the current.
Clearly, the best curve is the one with .
When , the energy goes from the source to the load and never backwards.
Notes: Note that . Using voltage as a reference, that is, is kept a constant, (a similar result is when current is used as a reference), all p(t) curves intersect at the times when . If the current is the reference, the curves will intersect at the other points where they equal 2P or zero.
cfig/pf.fig
Note that 𝑝(𝑡)=𝑃+𝑃⋅cos⁡(2𝜔𝑡+2𝛼_𝑣 )+𝑄⋅sin⁡〖(2𝜔𝑡+2𝛼_𝑣)〗. Using voltage as a reference, that is, 𝛼_𝑣 is kept a constant, (a similar result is when current is used as a reference), all p(t) curves intersect at the times when 2𝜔𝑡+2𝛼_𝑣=𝑘𝜋. If the current is the reference, the curves will intersect at the other points where they equal 2P or zero.
cfig/pf.fig

## Slide 6: Power Factor Correction
In power factor correction, an additional component is connected in parallel to a load so as to ensure an overall .
Power factor correction minimizes the current:
the total current will be smaller than and will have
the least value when .
Because power factor correction reduces losses, it is
important in practice.
Notes: cfig/pfc.fig

## Slide 7: Power Factor Correction Methods
Method 1: Using as a reference, sketch a phasor diagram. Select so that .
Method 2: Use , where is the susceptance of .
Method 3: Select so as to cancel the reactive power of . This method will be studied in a future lecture.
Notes: cfig/pfc2.fig and phasor4.fig

## Slide 8: Example 1
Assume and . The frequency is Hz. Find that corrects the power factor.
Note that .
Therefore, and .
.
corresponds to an inductor of value
.
By power factor correction, the total current was reduced to , two times smaller than !
Notes: cfig/pfc2.fig and phasor4.fig

## Slide 9: Example 2
Assume and . The frequency is Hz. Find that corrects the power factor using the second method.
Note that .
The admittance is .
The susceptance is .
.
corresponds to a capacitor of value
.
Notes: cfig/pfc2.fig

## Slide 10: Example 3
Assume and . The second load absorbs at a power factor of 0.5 lagging. What is the power factor of the source?
.
The angle of is derived from
Since is lagging, .
Thus, .
.
The power factor is
lagging.
Notes: sum/power1.fig