## Slide 1: THREE PHASE SYSTEMS
An Introduction
M.V. Iordache, EEGR2053 Electric Circuits, Spring 2020, LeTourneau University

## Slide 2: Introduction
Power is usually transmitted in AC form using three phases.
The voltage of each phase with respect to the common reference (called neutral) is the same, excepting the phase angle.
Denoting by a, b, and c the three phases:
In a phasor diagram, the three voltages are
three vectors at each from the other.
Notes: cfig/threephase.fig

## Slide 3: Introduction
From a practical standpoint, three phase voltage is easily generated.
  In a synchronous generator, coils at from each other will naturally generate three phase voltage.
For the same amount of power, a three phase power transmission system needs less copper than a single phase system.
  This means that a three phase power transmission system is cheaper than a single phase system.

## Slide 4: Definitions
In a three phase system, sources and loads are connected in the wye () configuration or the delta ( configuration.
Notes: cfig/dy.fig

## Slide 5: Definitions
A three phase component can be represented with three subcomponents, called phases, connected in or .
Notes: cfig/dy2.fig

## Slide 6: Definitions—Currents
The current flowing through a phase is called phase current.
The current flowing through a conductor that powers a component is called line current.
In the figure, the phase currents are:
The line currents are:
Notes: cfig/dy3.fig

## Slide 7: Definitions—Currents
For a -connected component, phase and line currents are identical.
For a -connected component, the rms values are related by .
In the figure, the phase currents are:
The line currents are:
Notes: cfig/dy3.fig

## Slide 8: Definitions—Voltages
The voltage on a phase is called phase voltage.
The voltage between two power lines is called line-to-line voltage, or shortly, line voltage.
In the figure, the phase voltages are:
The line voltages are:
Notes: cfig/dy4.fig

## Slide 9: Definitions—Voltages
For a -connected component, phase and line voltages are identical.
For a -connected component, the rms values are related by .
In the figure, the phase voltages are:
The line voltages are:
Notes: cfig/dy4.fig

## Slide 10: Definitions—Balanced System
A three phase system is balanced if all of the following apply:
The phases of the source are out of phase.
The phases of the source are identical, except for being out of phase.
The phases of the load are identical.
We will normally assume balanced systems.

## Slide 11: Notation
Let and denote the terminals of a circuit element.
will be the voltage between and with at and at N.
will be the current flowing from to .
Notes: cfig/notation.fig and notation2.fig

## Slide 12: Convention
For three phase source of voltage, we will use the convention:
This naming convention is known as the positive phase sequence.
The negative phase sequence has .
For a -connected source, the node is called neutral.
Notes: cdoc/sum/wye2.fig

## Slide 13: Example
The following balanced system has a line voltage of rms, , and inductors of reactance . Find the current .
Notes: cdoc/sum/wye1.fig

## Slide 14: Example (Continued)
Note that for a balanced system, the nodes and are at the same potential: .
For a balanced system, the equivalent circuit per phase may be used.
Notes: cdoc/sum/wye1.fig

## Slide 15: Example (Continued)
In the equivalent circuit per phase:
  The nodes and are connected.
  We draw only one phase of the source and of the load.
Let’s find first the rms phase voltage.
Therefore, converting rms to peak amplitude:
Notes: cdoc/sum/perphase.fig