## Slide 1: Review—Part 2
M.V. Iordache, EEGR2053 Electric Circuits, Spring 2020, LeTourneau University

## Slide 2: Example 1
A three-phase transformer steps down voltage to a -connected load. The load operates at 30 kW and a power factor of 0.8 leading. The primary of the transformer is -connected and the secondary is -connected. The turns ratio is a = 0.1. The line voltage of the primary is rms. Find the impedance of the load, per phase, and the line current drawn by the primary of the transformer.
Since the primary is -connected, the phase voltage of the primary equals the line voltage of the primary: rms.
The phase voltage of the secondary is: rms.
Since the secondary is -connected, the line voltage of the secondary is: rms.
The load is connected to the secondary, so the secondary and the load have the same line voltage.
The load is -connected, so the phase voltage of the load equals the line voltage of the load:

## Slide 3: Example 1 (Continued)
The total power of the load being , the power per phase is .
The unit implies average power.
The power factor is . Therefore, .
Since the power factor is 0.8 leading, current leads voltage ().
Therefore, .
The apparent power is .
Assuming rms values, .
Therefore, the phase current of the load is
.
The load impedance of each phase is:
Notes: cdoc/sum/power4.fig

## Slide 4: Example 1 (Continued)
The phase current of the load was shown to be .
Since the load is -connected, the line current of the load is .
Since the secondary of the transformer is -connected, it has the same line current: rms.
Since the secondary is -connected, the line and the phase currents are identical: .
The phase current of the primary will be: .
Since the primary is -connected, the line current of the primary is
.
Notes: cdoc/sum/power4.fig

## Slide 5: Example 2
Indicate how the power factor can be corrected in the previous example.
The reactive power of the load, per phase, is .
To correct the power factor, we need to cancel the reactive
power of the load.
Only reactive elements have reactive power:
  Capacitors generate reactive power.
  Inductors absorb reactive power.
Therefore, we need an additional inductive load of reactive power , per phase.
Let be the inductance of each phase and the rms phase voltage.
Let be the reactance of .
Notes: cdoc/sum/power4.fig

## Slide 6: Example 2 (Continued)
Note that if the inductors are -connected, their value will be three times smaller than if they are -connected.
Assuming -connected inductors and a frequency:
Notes: cdoc/sum/power4.fig

## Slide 7: Remarks
Note that the admittance .
  , the conductance, is the real part of .
  ), the susceptance, is the imaginary part of .
Any impedance can be represented as , where
and .
Any impedance can be represented also as , where
  , the resistance, is the real part of .
  ), the reactance, is the imaginary part of .
Notes: cdoc/sum/power4.fig

## Slide 8: Remarks
Let and be the rms voltage and current on an impedance .
If , note that:
  The average power dissipated on is .
  The reactive power absorbed by is .
  Let us note that may be positive or negative.
If we represent instead as , then:
  The average power dissipated on is .
  The reactive power absorbed by is .
These equations can be derived immediately from , , and .
Notes: cdoc/sum/power4.fig

## Slide 9: Remarks
Thus, for a resistor: , and .
For a capacitor: , , and .
For an inductor: , , and .
Notes: cdoc/sum/power4.fig

## Slide 10: Example
One of the homework problems involves the circuit above.
The average power of the resistor is , where is the rms value of .
A possible way to find the average power of the source is by finding the total power dissipated by the circuit.
Let be the total impedance seen by the source:
Notes: cdoc/sum/power4.fig

## Slide 11: Example (Continued)
Let be the imaginary part of the admittance.
Let .
The average power dissipated by the circuit will be , where is the rms value of .
Notes: cdoc/sum/power4.fig